Fire risk assessment and emergency evacuation plan.

| Premises | Aspire Dudley Ltd – Alternative Education Provision |
| --- | --- |
| Address | 149 Cinder Bank, Dudley, DY2 9BW |
| Date of Issue | 01 November 2025 |
| Latest Review | 01 November 2025 |
| Next Review Date | 01 November 2026 |
| Policy Owner | Aspire Dudley |
| Policy Lead | G.Clayton – Responsible Person |

Introduction

This document outlines the fire safety strategy for Aspire UK Academy, including risk assessment outcomes, control measures, roles and responsibilities, and the fire evacuation plan. The objective is to ensure the safety of pupils, staff, contractors, and visitors in the event of fire. This plan is prepared in compliance with:
- The Regulatory Reform (Fire Safety) Order 2005
- The Health and Safety at Work etc. Act 1974
- Department for Education guidance: Fire Safety in New and Existing School Buildings

## Responsible Persons

| Role | Name | Contact Info |
| --- | --- | --- |
| Responsible Person | G.Clayton | Gemma@aspireukacademy.com |
| Fire Safety Coordinator | G.Clayton | Gemma@aspireukacademy.com |
| Appointed Fire Warden(s) | TBC |  |

## Premises Description

- Building Use: Alternative education provision for secondary-age students.
- Occupants: Capacity for 15 pupils plus staff, and visitors.
- Escape Routes: Illuminated with emergency lighting.
- Fire Alarm System: Manual call points and audible alarms throughout.
- Fire Fighting Equipment: CO₂ and foam extinguishers strategically located.
- Emergency Lighting: Installed in corridors, toilets and exit routes.

No Lightning Protection System is currently installed due to a number of factors including the building is not a high rise building, does not sit on elevated ground, is sheltered by other nearby buildings, has a low occupancy, does not have a steel protruding frame, and uses surge protection to reduce risk.

## 3. Fire Hazards Identified

| Hazard Source | Risk Description | Control Measure |
| --- | --- | --- |
| Electrical Equipment | Over heating / Faulty wiring | PAT testing, daily checks |
| Kitchen / Food Preparation | Cooking related fire | Supervised use, fire suppression equipment. |
| Storage Areas | Combustible materials (Paper, supplies) | Housekeeping, locked storage. |
| Smoking (off premises) | Possible ignition source from discarded items. | No-smoking policy, monitored areas. |

## People at Risk

- Pupils, especially those with additional needs, including mobility and sensory needs 
- Teaching and support staff
- Contractors and visitors unfamiliar with the layout
- Maintenance staff working alone or after hours

Personal Emergency Evacuation Plans (PEEPs) are in place for all with particular vulnerabilities related to leaving the building in an emergency.

## 5. Fire Prevention Measures

- All electrical systems maintained by qualified personnel (new system fitted 2025)
- Regular inspections of fire doors, extinguishers, and alarms.
- No smoking allowed on-site.
- Waste materials removed daily.
- Flammable materials securely stored.

(Fire risk assessment completed by Delta in November 2025)

## Fire Detection and Warning System

- Fully operational fire alarm system tested weekly.
- Fire alarm serviced and certified bi-annually.
- Call points located near all exits and in high-risk areas.

## Means of Escape

- All fire exits clearly marked and unobstructed.
- Escape routes illuminated and signposted.
- Fire drills conducted termly with logs maintained.
- External assembly point: Car park at front of building

## 8. Evacuation Procedure

On discovering a fire:
1. Raise the alarm using nearest call point.
2. Evacuate the building immediately via the nearest safe exit.
3. Do not re-enter the building.

On hearing the fire alarm:
1. Teachers escort students to the assembly point.
2. Close doors/windows only if safe.
3. Fire Wardens check their designated zones.
4. Administrator brings registers and visitor book to assembly point.
5. Headteacher conducts roll-call and liaises with emergency services.

Assist those with mobility/sensory needs via PEEPs (Personal Emergency Evacuation Plan’s). A copy of each PEEP in action will be kept in the emergency evacuation folder.

## 9. Fire Fighting Equipment

- Only trained staff may use extinguishers – if safe to do so (all staff receive training)
- Equipment visually checked monthly.
- Annual service by certified contractor (new extinguishers installed Dec 2025).

## 10. Training and Drills

- All staff receive annual fire safety training.
- Fire drills conducted once per term.
- Fire wardens trained in evacuation procedures and extinguisher use.

## 11. Monitoring, Review and Records

- Fire safety checks conducted weekly (alarms), monthly (extinguishers), and annually (system service).
- This plan reviewed annually or after any incident or building change.
- Records kept of all tests, drills, and training (hard copy in Headteacher’s Office)

## 12. Contacting Emergency Services

The person in charge will:
- Dial 999 immediately upon confirmation of fire.
- Provide address: Aspire Dudley Ltd, 149 Cinder Bank, Netherton, DY2 9BW
- Inform fire crews of known hazards (e.g., gas supply, chemicals).

## 13. Document Control

| Document | Location | Responsible Person |
| --- | --- | --- |
| Fire Risk Assessment | Site Office / Digital | G. Clayton |
| Fire Drill Log | Office / Fire File | G. Clayton |
| Equipment Maintenance Records | Maintenance File | G. Clayton |
| Staff Training Records | HR Office / Online | G. Clayton |